## 原本
[9 empty] | Report No. |  | －
[9 empty] | Date | May XX, 2011
Report of Surface Examination about Radioactivity
(Name)
[6 empty] | Iwaki City Mayor | [5 empty] | ※公印を押印
The results of examination were as follows :
Item
（Size (mm ) Height × Width × Depth ）
Measurement Instrument
Silicon Semiconductor Detector (Fuji Electric co.ltd) NHJ21141－YYYYY－S
Calibration Date: April 14, 2011
Measurement Conditions
Method : Direct Measurement
1 . Reading （Unit： Bq/cm2）
|  |  |  | Maximum | 0
[13 empty] | 測定箇所 | 時間ごとの測定値
|  |  |  | Minimum | 0 | [8 empty] | 5sec | 10sec | 15sec | 20sec | 25sec
①
|  |  |  | Average | #DIV/0! | [7 empty] | ②
③
Results | [12 empty] | ④
⑤
2. Background
already offsetted
3. Calibration Constants
36Cl(1.12E-03 Bq/cm2/min-1) is used
* remark
|  |  |  | 131I : 1.24E-03 Bq/cm2/min-1 |  |  | Fig. Measurement Situation
137Cs : 1.38E-03 Bq/cm2/min-1
|  |  | *All results are the item brought in. |  |  |  | Measurement Location :
Remarks | [6 empty] | Iwaki City Environmental Monitoring Centre
Measurement Date :
May XX, 2011

## 記入箇所
[9 empty] | Report No. |  | －
[9 empty] | Date | May XX, 2011
Report of Surface Examination about Radioactivity
| (Name) |  | 発行時必要となる名前を記入お願いします
[6 empty] | Iwaki City Mayor | [5 empty] | ※公印を押印
The results of examination were as follows :
Item |  |  | ※持ち込む予定の検体の名前及び下の欄に寸法を記入お願いします
（Size (mm ) Height × Width × Depth ）
Measurement Instrument
Silicon Semiconductor Detector (Fuji Electric co.ltd) NHJ21141－YYYYY－S
Calibration Date: April 14, 2011
Measurement Conditions
Method : Direct Measurement
1 . Reading （Unit： Bq/cm2）
|  |  |  | Maximum | 0
[13 empty] | 測定箇所 | 時間ごとの測定値
|  |  |  | Minimum | 0 | [8 empty] | 5sec | 10sec | 15sec | 20sec | 25sec
①
|  |  |  | Average | #DIV/0! | [7 empty] | ②
③
Results | [12 empty] | ④
⑤
2. Background
already offsetted
3. Calibration Constants
36Cl(1.12E-03 Bq/cm2/min-1) is used
* remark
|  |  |  | 131I : 1.24E-03 Bq/cm2/min-1 |  |  | Fig. Measurement Situation
137Cs : 1.38E-03 Bq/cm2/min-1
|  |  | *All results are the item brought in. |  |  |  | Measurement Location :
Remarks | [6 empty] | Iwaki City Environmental Monitoring Centre
Measurement Date :
May XX, 2011